## Sheet1
Home Maintenance Agreement
The ENTER Residence – ADDRESS – DATE
January
q | Clean bathroom fans | included
q | Check grout in all bathrooms | included
q | Clean dishwasher strainer | included
q | Check under sinks for leaks | included
q | Clean debris off roof | included
q | Exterminate | included
q | Clean gutters and drains | included
q | Check floor protectors on furniture legs | included
q | Lightbulb replacement | included
q | Salting and snow removal as needed (per city guidelines) | included
q | Clean and seal kitchen countertops
q | Change water filters
q | City inspections and filings including backflow devices, sprinkler system, boiler
February
q | Clean kitchen hood/exhaust | included
q | Clean dryer vents | included
q | Check for rodents digging in front and back | included
q | Remove hair in bathroom sinks, tubs and shower drains | included
q | Exterminate | included
q | Clean gutters and drains/check downspout for ice clogs | included
q | Lightbulb replacement | included
q | Salting and snow removal as needed (per city guidelines) | included
q | Clean and seal bathroom stone
March
q | Change AC filters, check drainage pan and inspect unit | included
q | Clean drip pans and drains in inside air handler units | included
q | Vacuum all AC registers and return air grills | included
q | Check for falling ice chunks | included
q | Clean dishwasher strainer | included
q | Check under sinks for leaks | included
q | Exterminate | included
q | Lightbulb replacement | included
q | Clean gutters and drains/check downspout for ice clogs | included
q | Salting and snow removal as needed (per city guidelines) | included
q | Change filters in makeup air vent
q | Clean snow off skylights
April
q | Clean AC condensers | included
q | Change AC filters, check drainage pan and inspect unit | included
q | Turn off gas fireplace (if applicable) | included
q | Change water filters in refrigerator and icemaker | included
q | Turn on outdoor water lines | included
q | Inspect roof for warping, aging, moss or cracking | included
q | Inspect exterior wood for rotting or decay | included
q | Check for rodents digging in front and back | included
q | Power wash sidewalk and any patios/terraces | included
q | Exterminate | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
q | Clean off roof | included
q | Set up and turn on irrigation
May
q | Change AC filters, check drainage pan and inspect unit | included
q | Clean dishwasher strainer | included
q | Clean all outdoor furniture | included
q | Check under sinks for leaks | included
q | Inspect foundation for water penetration | included
q | Exterminate | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
q | Clean BBQ grill
June
q | Change AC filters, check drainage pan and inspect unit | included
q | Check for AC leaks | included
q | Remove hair in bathroom sinks, tubs and shower drains | included
q | Check under sinks for leaks | included
q | Inspect appliance hoses and ventilation | included
q | Exterminate | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
q | Check, trim and feed landscaping and deadhead flowers
q | Clean terraces
q | Clean patio furniture
q | Clean garbage area
July
q | Change AC filters, check drainage pan and inspect unit | included
q | Check for rodents digging in front and back | included
q | Clean dishwasher strainer | included
q | Exterminate | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
q | Maintain landscaping, tree wells and deadhead flowers
q | Wash front entryway and sidewalk
q | Change water filters
August
q | Change AC filters, check drainage pan and inspect unit | included
q | Check caulking on exterior doors and windows | included
q | Inspect for loose/cracked grout around tiles, sinks, tubs, showers, toilets, counters | included
q | Remove hair in bathroom sinks, tubs and shower drains | included
q | Check under sinks for leaks | included
q | Inspect exposed plumbing areas for dampness | included
q | Exterminate | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
q | Maintain landscaping, tree wells and deadhead flowers
q | Clean garbage area
q | Wash front entryway and sidewalk
September
q | Change AC filters, check drainage pan and inspect unit | included
q | Top off oil in all circulator pumps | included
q | Replace smoke and carbon monoxide alarm batteries | included
q | Check perimeter and foundation for any openings | included
q | Clean dishwasher strainer | included
q | Check for rodents digging in front and back | included
q | Clean/vacuum heating ducts, grills and registers | included
q | Exterminate | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
October
q | Service furnace or other heating system | included
q | Check traps and vents for all radiators | included
q | Turn on gas fireplace (if applicable) | included
q | Remove hair in bathroom sinks, tubs and shower drains | included
q | Check under sinks for leaks | included
q | Exterminate | included
q | Clean kitchen hood/exhaust | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
q | Clean garbage area
November
q | Inspect chimney | included
q | Backyard cleanup/clean leaves off roof | included
q | Clean dishwasher strainer | included
q | Check for rodents digging in front and back | included
q | Turn off exterior water and blow out all lines | included
q | Exterminate | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
q | Turn off irrigation and blow out lines
December
q | Clean remaining leaves off roof | included
q | Clean/vacuum refrigerator compressor | included
q | Check under sinks for leaks | included
q | Remove hair in bathroom sinks, tubs and shower drains | included
q | Exterminate | included
q | Salting and snow removal as needed (per city guidelines) | included
q | Lightbulb replacement | included
q | Clean gutters and drains | included
| Billed at $1350/Month | 16200
Whole Home Maintenance Agreements
"Every Home Needs One"